## Slide 1: Team 5 - Smart Building Session 2
Advisor : Yoav Freund

## Slide 2: Team and Roles
  Rajesh – Project Lead, Design and Development
  Manoj – Treasurer, Design, Development and Visualization
  Karuna – Data Exploration, Design and Development

## Slide 4: The Challenge
Modern large office buildings have centralized climate and energy control.
Each room in these buildings is deployed with a variety of digital sensors.
The readings from all of these sensors form large data streams that are monitored and logged.
Currently, sensors data stream is being used to alert maintenance staff in case of problems.
Current sensor data is not predicting malfunctions.

## Slide 5: Question Formulation
Can we Analyze and Identify Patterns from the data logged from few buildings in UCSD?
Can we Create a model for each of these rooms?
Based on these models
  Can we accurately detect anomalies within the room?
    Considering Sensors are accurately logging the values
  Can we Identify malfunctioning sensors?
    Based on Atypical Values of Sensor by Outlier detection

## Slide 6: Tools
Development
  Python
  PySpark on DataBricks
Storage
  AWS S3
Visualization
  Matplotlib
  bokeh

## Slide 7: Datasets: Selection, Collection and Management
Data Available in Amazon AWS S3 instance
Reduce the frequency of Capture of Signals
Original Data – json
Compressed Data - csv
Import reduced data to Databricks Tables

## Slide 8: Data Preparation
Format Date and Time
Weekday and weekend determination
Data separation based on the room
Table based on each room
Normalize different signals(for example)
      Actual Cooling setpoint
      Actual Heating setpoint
      Damper Command
      Cooling Max flow

## Slide 9: Exploratory Analysis
Distribution of different types of Sensors and its signals
Piecewise Linear Compression Analysis

## Slide 10: Exploratory Analysis - contd
Piecewise Constant Compression Analysis

## Slide 11: Progress to Date and Preliminary Results
Sensor data from a specific room for a signal.

## Slide 12: Progress to Date and Preliminary Results - contd
Percentage change in Signal for a room

## Slide 13: Learned
Work on Sample data before working on entire data.
Importance of compression
Concept of MDL(Minimal Description Length)
Run length Encoding

## Slide 14: Next Steps and Timeline
Plots for specific rooms and multiple sensors across the time.

## Slide 15: Session 2 mar 3rd 2017

## Slide 16: Sampling & exploratory analysis
Spark & DataBricks Activities
  Queries to
    Identify the distribution of various signals in the entire data
    Identify the distribution of signals for different rooms
    Identify the distribution of signals for a given room for All Signals Available
    Identify the distribution of signals for a given room for Specific set of signals
        Cool set point
        Heat set point
        Damper position
        Supply flow
        zone termperature.
    Identify the time range for a given room when All of the specific signals were available
    Identify data gaps in the final extraction
    Room identified with all 5 signals available RM-1156 for timeperiod Feb 2015 – May

## Slide 17: Sampling & exploratory analysis
    Identify the time range for a given room when All of the specific signals were available
    Identify data gaps in the final extraction
    Room identified with all 5 signals available RM-1156 for timeperiod Feb 2015 – May

## Slide 18: Signal analysis & visualization Summer Vs winter(Rm-1156 feb2015-may2015

## Slide 19: Signal analysis & visualization between weeks

## Slide 20: Learned
Started to see the bigger picture
Importance of exploring the health of data
How exploratory Analysis gave insight to choose the concentration of data
Data gaps identified for the signals that are not available

## Slide 21: Next Steps
Develop methods to cluster the rooms by signals
Arrive at combination of rooms
Simulate a room with common signals.
Take Advice from Prof to Develop Algorithms for modelling